| Tender texts as templates for construction projects in which a tender will be issued Product: LIMAFLEX200 L-Shape |  |
| --- | --- |

Limaflex® aluminium path and flower metal edging,
straight shape, deliver and install in accordance with the manufacturer's installation instructions. Limited flexibility, 10 mm thick, extendable special profile with smooth side and top edges.

Item:	Straight with guide holder for guide mount for 90° retaining anchor 
Item no.:	P20N25
Profile height:	200 mm
Length:	2,500 mm
Colour:	mill finish, natural aluminium silver-grey

Item:	Connector for optional connection of the P20N25 profile in the
	upper profile area

Item no.:	V20N10
Length:	100 mm 
Colour:	mill finish, natural aluminium silver-grey

Item:	Profile anchor 90° (also suitable as butt connector) for guide holder
	in path and flower metal edging 
Item no.:	LA60
Profile height:	45 mm 
Width:	80 mm
Length:	60 mm
Round hole:	Ø 7.5 mm
Colour:	mill finish, natural aluminium silver-grey

Manufacturer:QualityEdging FZ LLC
	Tel./WhatsApp: +971 50 3464005
	www.qualityedging.com
	E-Mail: sales@qualityedging.com
	Compass Building, Al Shohada Road
	Al Hamra Industrial Zone
	Ras Al Khaimah, United Arab Emirates